## Clarksburg Elementary School
Town of Clarksburg: Priority for ADA Transition Plan - Buildings
**IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Clarksburg
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Clarksburg Elementary School | A. Exterior Access Route | J. Level changes > 1/4" | Exit - OT/ PT/Special Ed | 1 |  | Priority 3 | Additional Access | Alter change in level to be 1/4" high max. | 1 | 256
2 | Clarksburg Elementary School | A. Exterior Access Route | J. Level changes > 1/4" | Exit - Special Ed | Exterior | 5 | Priority 3 | Additional Access | Alter change in level to be 1/4" high max. | 1 | 256
3 | Clarksburg Elementary School | A. Exterior Access Route | M. Route not maintained in operable working condition | Exit Path Between Library and School Primary Wing | Exterior | 5 | Priority 1 | Program Access | Ensure the accessible route is maintained in operable working condition. (Cost for a 120 ft. by 4 ft. wide concrete walkway.) | 1 | 7680
4 | Clarksburg Elementary School | A. Exterior Access Route | M. Route not maintained in operable working condition | Exit Path Between Library and School Primary Wing | Exterior | 5 | Priority 1 | Program Access | Ensure the accessible route is maintained in operable working condition. (See ID #3 for cost.) | 1 | 0
5 | Clarksburg Elementary School | A. Exterior Access Route | H. Running slope > 1:20 (5%) | Exit #3 | 1 |  | Priority 3 | Additional Access | Reduce running slope to be no steeper than 1:20 (5%). | 1 | 1200
6 | Clarksburg Elementary School | A. Exterior Access Route | J. Level changes > 1/4" | Exit #3 | 1 |  | Priority 3 | Additional Access | Alter change in level to be 1/4" high max. | 1 | 256
7 | Clarksburg Elementary School | A. Exterior Access Route | J. Level changes > 1/4" | Gym Entrance/ Exit Near Playground | B |  | Priority 3 | Additional Access | Alter change in level to be 1/4" high max. | 1 | 256
8 | Clarksburg Elementary School | A. Exterior Access Route | M. Route not maintained in operable working condition | Towards Gym Entrance | Ext. |  | Priority 1 | Program Access | Ensure the accessible route is maintained in operable working condition. | 1 | 0
9 | Clarksburg Elementary School | C. Off-Street Parking Lot or Garage | M. Parking not maintained in operable working condition | Parking Lot | Ext. |  | Priority 1 | Program Access | Ensure parking is maintained in operable working condition. Note: See the catalog for the Library for accessibility issues. | 1 | 0
10 | Clarksburg Elementary School | H. Emergency Exit | G. Maneuvering clearance(s) not provided | Exit Near Storage by Grade 2 | Exterior |  | Priority 3 | Additional Access | Ensure running slope is no more than 1:50 (2..00%) in all directions. Cost for adding concrete to correct running slope. | 1 | 1200
11 | Clarksburg Elementary School | H. Emergency Exit | P. Threshold > 1/2" high | Opposite Exit Near Grade 2 | 1 |  | Priority 3 | Additional Access | Alter the threshold to be 1/2" high max. | 1 | 150
12 | Clarksburg Elementary School | H. Emergency Exit |  | Kindergarten | 1 | 4 | Priority 3 | Additional Access | Provide a 30" by 48" clear floor space outside the swing of the door. Note: Recommendation applies to all exit doors. | 2 | 384
13 | Clarksburg Elementary School | H. Emergency Exit | P. Threshold > 1/2" high Q. Threshold not beveled | Exit - Grade 2 | 1 | 6 | Priority 3 | Additional Access | Alter the threshold to be 1/2" high max. Bevel the threshold. | 1 | 300
14 | Clarksburg Elementary School | H. Emergency Exit | R. Door requires > 15 lbs. of force to open | Exit Near Lift Between Middle Wing and Junior High Wing | Exterior |  | Priority 3 | Additional Access | Adjust closer of exterior door so door does not require more than 15 pounds of force. | 1 | 0
15 | Clarksburg Elementary School | H. Emergency Exit |  | Exit - Grade 2 | 1 | 6 | Priority 3 | Additional Access | See ID #12 for recommendation and cost. | 1 | 0
16 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Main Entrance/ Exit | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. | 1 | 232
17 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Exit - OT/ PT/Special Ed | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. After the change in level is fixed, provide an illuminated sign with the International Symbol of Accessibility (ISA). (See ID # 1.) | 1 | 232
18 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Exit Near Storage by Grade 2 | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. | 1 | 232
19 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Opposite Exit Near Grade 2 | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. After the change in level is fixed, provide an illuminated sign with the International Symbol of Accessibility (ISA). (See ID # 1.) | 1 | 232
20 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Special Ed | 1 | 5 | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. After the change in level is fixed, provide an illuminated sign with the International Symbol of Accessibility (ISA). (See ID #2.) | 1 | 232
21 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Exit #3 | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. After the running slope is fixed, provide an illuminated sign with the International Symbol of Accessibility (ISA). (See ID #5.) | 1 | 232
22 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Exit at Rear End of Primary Wing - Near Library Entrance | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign to the nearest accessible exit. | 1 | 232
23 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Grade 1 | 1 | 2 | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign to the nearest accessible exit. | 1 | 232
24 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided | Exit Near Lift Between Middle Wing and Junior High Wing | 0.5 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign to the nearest accessible exit. | 1 | 232
25 | Clarksburg Elementary School | A. Means of Egress | B. Tactile exit sign not provided R. Door requires > 15 lbs. of force to open | Gym Entrance/ Exit Near Playground | B |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor. Adjust closers of exterior door so door does not require more than 15 pounds of force. After the change in level is fixed, provide an illuminated sign with the International Symbol of Accessibility (ISA). (See ID #7.) | 1 | 232
26 | Clarksburg Elementary School | B. Interior Access Route | F. Surface not stable, firm, and slip-resistant | Student Support Center | 1 |  | Priority 3 | Additional Access | Ensure mat is securely attached to the floor. | 1 | 0
27 | Clarksburg Elementary School | B. Interior Access Route | B. Obstructed by protruding objects | Primary Wing | 1 |  | Priority 3 | Additional Access | Relocate coat hooks so they do not protrude into the circulation path. | 2 | 512
28 | Clarksburg Elementary School | B. Interior Access Route | B. Obstructed by protruding objects | Students Accessible Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate paper towel dispenser so it does not protrude into the circulation path. Adjust closer so door does not require more than 5 pounds of force to open. | 1 | 256
29 | Clarksburg Elementary School | B. Interior Access Route | A. Route < 36" wide B. Obstructed by protruding objects |  | B |  | Priority 3 | Additional Access | Ensure that a clear width of 36" min. is maintained at the accessible route. Provide a cane-detectable barrier under the tray slide. | 1 | 239
30 | Clarksburg Elementary School | B. Interior Access Route | A. Route < 36" wide | Gym | B |  | Priority 3 | Additional Access | Ensure that a clear width of 36" min. is maintained at the accessible route. | 1 | 0
31 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | To Main Office | 1 |  | Priority 1 | Program Access | Keep door open during business hours. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
32 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | A. Clear width at door < 32" L. Hardware not operable with a closed fist | OT/PT/ Special Ed | 1 |  | Priority 1 | Program Access | Widen the door so that there is 32" min. clear width. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 3850
33 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | OT/PT/ Special Ed | 1 |  | Priority 3 | Additional Access | Remove storage to maintain the maneuvering clearance at the door. | 1 | 0
34 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Staff Room | 1 |  | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. Remove sign to reflect the actual use of the room. | 1 | 484
35 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Student Support Center | 1 |  | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
36 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Special Ed | 1 |  | Priority 1 | Program Access | Remove chair to maintain the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
37 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Special Ed | 1 | 5 | Priority 1 | Program Access | Relocate table to maintain the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
38 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Boys' Toilet Room | 1 |  | Priority 3 | Additional Access | Reverse the swing of the door to provide maneuvering clearance. | 1 | 1884
39 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Girls' Toilet Room | 1 |  | Priority 3 | Additional Access | Reverse the swing of the door to provide maneuvering clearance. | 1 | 1884
40 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Grade 1 | 1 | 2 | Priority 3 | Additional Access | Relocate trash can to maintain the maneuvering clearance at the door. | 1 | 0
41 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Kindergarten | 1 | 4 | Priority 1 | Program Access | Relocate table to maintain the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
42 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Kindergarten | 1 | 4 | Priority 1 | Program Access | Relocate trash can to main the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
43 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 2 | 1 | 6 | Priority 3 | Additional Access | Relocate storage to main the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
44 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 2 | 1 | 6 | Priority 1 | Program Access | Relocate storage to main the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
45 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | OT/PT/ Special Ed | 1 | 9 | Priority 1 | Program Access | Relocate table and trash can to maintain the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
46 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Single-User Toilet Room - Teachers Lounge | 1 | 10 | Priority 3 | Additional Access | Relocate storage to maintain the maneuvering clearance at the door. | 1 | 0
47 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Nurse's Office | 1 | 11 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
48 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 3 | 1 | 12 | Priority 1 | Program Access | Relocate storage to maintain the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. Recommendation applies to both doors. | 1 | 484
49 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 4 | 1 | 14 | Priority 1 | Program Access | Remove cabinet to provide the required 18" min. maneuvering clearance at the door. Or have students use the second entrance/exit to the classroom. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
50 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 4 | 1 | 14 | Priority 1 | Program Access | Relocate trash can to maintain the required maneuvering clearance at the door. | 1 | 0
51 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 3 | 1 | 15 | Priority 1 | Program Access | Remove cabinet to provide the required 18" min. maneuvering clearance at the door. Or have students use the second entrance/exit to the classroom. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
52 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 3 | 1 | 15 | Priority 1 | Program Access | Relocate trash can to maintain the required maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
53 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 5 | 1 | 13 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. (See ID #54 for cost.) | 1 | 0
54 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Grade 5 | 1 | 13 | Priority 3 | Additional Access | Reverse the swing of the door to provide the required 18" maneuvering clearance. | 1 | 1884
55 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 5 | 1 | 13 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
56 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | A. Clear width at door < 32" L. Hardware not operable with a closed fist | Entrance to Kitchen - From Gym | B |  | Priority 1 | Program Access | Keep both doors open to maintain a 32" min. width at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
57 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | A. Clear width at door < 32" L. Hardware not operable with a closed fist | Exit From Kitchen to Gym | B |  | Priority 1 | Program Access | Keep both doors open to maintain a 32" min. width at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
58 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | To Toilet Rooms Near Gym Opposite Gym Entrance/ Exit | B |  | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
59 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Men's Toilet Room | B |  | Priority 3 | Additional Access | Provide an automatic door opener. (See ID #60 for cost.) | 1 | 0
60 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Men's Toilet Room | B |  | Priority 3 | Additional Access | Provide an automatic door opener. | 1 | 3060
61 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Women's Toilet Room | B |  | Priority 3 | Additional Access | Remove cabinet to maintain the required maneuvering clearance at the door. (See ID #62 for additional information and cost.) | 1 | 0
62 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Women's Toilet Room | B |  | Priority 3 | Additional Access | Provide an automatic door opener. | 1 | 3060
63 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 6/ Science | 1.5 | 18 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
64 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided L. Hardware not operable with a closed fist | Grade 6/ Science | 1.5 | 18 | Priority 1 | Program Access | Relocate trash can to maintain the maneuvering clearance at the door. Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
65 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 8/ History | 1.5 | 19 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
66 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 6/ Math | 1.5 | 16 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
67 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 6/ Math | 1.5 | 16 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
68 | Clarksburg Elementary School | C. Doors, Doorways, & Gates | L. Hardware not operable with a closed fist | Grade 7/ ELA | 1.5 | 17 | Priority 1 | Program Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
69 | Clarksburg Elementary School | E. Stairways | D. Handrails do not extend 12" from stairs | Stair to Exit Near Lift Between Middle Wing and Junior High Wing From Gym | B |  | Priority 3 | Additional Access | Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. Note: Recommendation applies to all stairs. | 1 | 0
70 | Clarksburg Elementary School | E. Stairways | F. Handrails not continuous where required | To Junior High Wing From Gym Entrance/ Exit | B |  | Priority 3 | Additional Access | Provide continuous handrails. Note: Recommendation applies to all stairs. | 1 | 0
71 | Clarksburg Elementary School | E. Stairways | F. Handrails not continuous where required | To Junior High Wing From Gym Entrance/ Exit | B |  | Priority 3 | Additional Access | Provide continuous handrails. Note: Recommendation applies to all stairs. | 1 | 0
72 | Clarksburg Elementary School | E. Stairways | D. Handrails do not extend 12" from stairs | Stair From Junior High Wing to Middle Wing | 1.5 |  | Priority 3 | Additional Access | Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. Note: Recommendation applies to all stairs. | 1 | 0
73 | Clarksburg Elementary School | F. Platform Lift or LULA Elevator | B. Not independently operable | Lift Near Stair to Junior High Wing | 1 |  | Priority 1 | Program Access | Consider the installation of a LULA elevator. | 1 | 90000
74 | Clarksburg Elementary School | F. Platform Lift or LULA Elevator | B. Not independently operable | Lift Near Stair to Junior High Wing | 1 |  | Priority 1 | Program Access | Adjust controls to be independently operable or provide a new lift. | 1 | 0
75 | Clarksburg Elementary School | F. Platform Lift or LULA Elevator | B. Clear floor space not provide at lift | Lift Upper Level Near Grade 6/ Math | 1 |  | Priority 3 | Additional Access | Relocate table to maintain the required clear floor space at the door of the lift. | 1 | 0
76 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Boys' Toilet Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
77 | Clarksburg Elementary School | H. Signage | G. Sign not located on the latch side of the door | Boys' Toilet Room | 1 |  | Priority 2 | Navigational Issue | Locate a permanent International Symbol of Accessibility (ISA) alongside the door on the latch side. | 1 | 0
78 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Girls' Toilet Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
79 | Clarksburg Elementary School | H. Signage | G. Sign not located on the latch side of the door | Girls' Toilet Room | 1 |  | Priority 2 | Navigational Issue | Locate a permanent International Symbol of Accessibility (ISA) alongside the door on the latch side. | 1 | 0
80 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 1 | 1 | 2 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
81 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Kindergarten | 1 | 4 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
82 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | OT/PT/ Special Ed | 1 | 9 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
83 | Clarksburg Elementary School | H. Signage | N. International Symbol of Acc. not provided | Students Accessible Toilet Room | 1 |  | Priority 2 | Navigational Issue | Provide a sign with the International Symbol of Accessibility (ISA). | 1 | 232
84 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground D. Braille not provided on sign | Nurse's Office | 1 | 11 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount sign so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. | 1 | 232
85 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 3 | 1 | 12 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
86 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 4 | 1 | 14 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
87 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 5 | 1 | 13 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
88 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door L. Directional sign to access. toilet not provided | Girls' Toilet Room - Near Room #13 | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. Install a sign indicating the location of the nearest accessible toilet room. | 2 | 464
89 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign L. Directional sign to access. toilet not provided | Boys' Toilet Room - Near Room #13 | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Install a sign indicating the location of the nearest accessible toilet room. | 2 | 464
90 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Men's Toilet Room | B |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
91 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Women's Toilet Room | B |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
92 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 6/ Science | 1.5 | 18 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
93 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 8/ History | 1.5 | 19 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
94 | Clarksburg Elementary School | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Grade 6/ Math | 1.5 | 16 | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign alongside the door on the latch side. | 1 | 232
95 | Clarksburg Elementary School | K. Operable Parts | C. Reach < 15" or > 48"(forward/side approach) | OT/PT/ Special Ed | 1 |  | Priority 3 | Additional Access | Locate at least one of the coat hooks 48" max. above the finished floor. | 1 | 0
96 | Clarksburg Elementary School | K. Operable Parts | C. Reach < 15" or > 48"(forward/side approach) | Student Support Center | 1 |  | Priority 3 | Additional Access | Locate one hook 48" max. above the finished floor. | 1 | 0
97 | Clarksburg Elementary School | K. Operable Parts | A. Element not on an accessible route | Grade 6/ Science | 1.5 | 18 | Priority 1 | Program Access | Ensure emergency eyewash is located on an accessible route. | 1 | 0
98 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided G. Top of dining/work surface < 26" or > 30" | OT/PT/ Special Ed | 1 |  | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. Ensure at least one work surface is mounted between 26"- 30" above the floor. | 1 | 0
99 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided G. Top of dining/work surface < 26" or > 30" | Grade 2 | 1 |  | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. Ensure at least one work surface is mounted between 26"- 30" above the floor. | 1 | 0
100 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided G. Top of dining/work surface < 26" or > 30" | Grade 1 | 1 | 2 | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. Ensure at least one work surface is mounted between 26"- 30" above the floor. | 1 | 0
101 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided G. Top of dining/work surface < 26" or > 30" | Kindergarten | 1 | 4 | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. Ensure at least one work surface is mounted between 26"- 30" above the floor. | 1 | 0
102 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided | Grade 2 | 1 | 6 | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. | 1 | 0
103 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided | Grade 3 | 1 | 12 | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. | 1 | 0
104 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided | Grade 4 | 1 | 14 | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. Ensure at least one work surface is mounted between 26"- 30" above the floor. | 1 | 0
105 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided | Gym - (Temporary Setup for Grade 5) | B |  | Priority 1 | Program Access | Adjust at least one work surface to ensure a 24" min. knee and toe clearance is provided. | 1 | 0
106 | Clarksburg Elementary School | M. Dining or Work Surfaces | B. At least one or 5% accessible tables not provided | Grade 6/ Science | 1.5 | 18 | Priority 1 | Program Access | Provide at least one work surface with 24" min. knee and toe clearance. Ensure at least one work surface is mounted between 26"- 30" above the floor. | 1 | 0
107 | Clarksburg Elementary School | M. Dining or Work Surfaces | B. At least one or 5% accessible tables not provided C. Knee or toe clearance not provided | Grade 8/ History | 1.5 | 19 | Priority 1 | Program Access | Ensure that at least one work surface is accessible with 27" min. knee and toe clearance. | 1 | 700
108 | Clarksburg Elementary School | M. Dining or Work Surfaces | C. Knee or toe clearance not provided | Grade 7/ ELA | 1.5 | 17 | Priority 1 | Program Access | Provide at least 1 work surface with 27" min. knee and toe clearance. | 1 | 700
109 | Clarksburg Elementary School | O. Lockers | D. 2% of lockers are not accessible H. Non-compliant hardware | Junior High Wing Hallway | 1.5 |  | Priority 1 | Program Access | Provide at least 1 accessible locker (or ensure 2% of all lockers are accessible) . Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 660
110 | Clarksburg Elementary School | O. Lockers |  | Junior High Wing Hallway | 1.5 |  | Priority 1 | Program Access | See ID #109 for recommendation. | 1 | 0
111 | Clarksburg Elementary School | S. Picnic Tables | C. At least 5% accessible spaces not provided H. Picnic table not on an accessible route | Swings | Exterior |  | Priority 1 | Program Access | Ensure that at least 5% (minimum one) of picnic tables are accessible. Ensure that the picnic table is connected to an accessible route. (See ID #142 for cost to provide an accessible route.) | 1 | 1400
112 | Clarksburg Elementary School | S. Picnic Tables | H. Picnic table not on an accessible route | Upper Level Open Space From Exits | Exterior |  | Priority 1 | Program Access | Locate the picnic table so it is connected to an accessible route. | 1 | 0
113 | Clarksburg Elementary School | S. Picnic Tables | C. At least 5% accessible spaces not provided | Outside Gym | Exterior |  | Priority 1 | Program Access | Ensure that at least 5% (minimum one) of picnic tables are accessible. | 1 | 1400
114 | Clarksburg Elementary School | A. Overall Access | F. International Symbol of Acc. not provided | Single-User Toilet Room - Teachers Lounge | 1 | 10 | Priority 1 | Program Access | Provide a sign with the International Symbol of Accessibility. | 1 | 232
115 | Clarksburg Elementary School | A. Overall Access | E. Sign to accessible toilet not provided | Single-User Toilet Room (Grade 8/ History) | 1.5 | 19 | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible toilet or bathing room. | 1 | 232
116 | Clarksburg Elementary School | B. Lavatory | E. Plumbing underneath is exposed | Girls' Toilet Room | 1 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. | 1 | 92
117 | Clarksburg Elementary School | C. Single-User Toilet | B. Flush control not on open side Q. Paper towel dispenser is not compliant | Men's Toilet Room | B |  | Priority 3 | Additional Access | Relocate the flush control to the open side. Relocate paper towel dispenser so it is not mounted above the rear grab bar. Ensure dispensers and other devices are not mounted above grab bars. | 1 | 727
118 | Clarksburg Elementary School | C. Single-User Toilet | Q. Paper towel dispenser is not compliant | Women's Toilet Room | B |  | Priority 3 | Additional Access | Relocate paper towel dispenser so it is not mounted above the rear grab bar. Ensure dispensers and other devices are not mounted above grab bars. | 1 | 353
119 | Clarksburg Elementary School | B. Toilet Compartment (Children) | H. Side or rear grab bar < 42" long R. Non-compliant toilet paper dispenser | Boys' Toilet Room | 1 |  | Priority 3 | Additional Access | Provide a side grab bar that is 42" long located 6" max. from the interior corner. Relocate toilet paper dispenser so that it is between 14"- 19" above the floor and between 7"- 9" in front of the toilet. Ensure dispensers and other devices are not mounted above grab bars. | 1 | 1154
120 | Clarksburg Elementary School | B. Toilet Compartment (Children) | C. Door with malfunctioning self-closing hinge V. Door pull not provided | Boys' Toilet Room | 1 |  | Priority 3 | Additional Access | Repair self-closing hinge. Provide a door pull on both sides of the door near the latch. | 1 | 70
121 | Clarksburg Elementary School | B. Toilet Compartment (Children) | H. Side or rear grab bar < 42" long N. Flush control not on open side R. Non-compliant toilet paper dispenser | Girls' Toilet Room | 1 |  | Priority 3 | Additional Access | Provide a rear wall grab bar that is 42" long located 6" max. from the interior corner. Provide the flush control on the open side of the toilet (transfer side), no higher than 44". Relocate toilet paper dispenser so that it is between 14"- 19" above the floor and between 7"- 9" in front of the toilet. Ensure dispensers and other devices are not mounted above grab bars. | 1 | 1528
122 | Clarksburg Elementary School | B. Toilet Compartment (Children) | C. Door with malfunctioning self-closing hinge V. Door pull not provided | Girls' Toilet Room | 1 |  | Priority 3 | Additional Access | Repair self-closing hinge. Provide a door pull on both sides of the door near the latch. | 1 | 70
123 | Clarksburg Elementary School | C. Lavatory (Children) | D. Faucet not operable with a closed fist F. Mirror above lavatory w/reflective surface > 31" | Boys' Toilet Room | 1 |  | Priority 3 | Additional Access | Provide a faucet that can be operable with one hand and not require tight grasping, pinching or twisting of the wrist for at least one lavatory. Lower mirror so that the bottom surface is at 31" above finished floor. | 1 | 1242
123 | Clarksburg Elementary School | C. Lavatory (Children) | E. Exposed plumbing underneath | Boys' Toilet Room | 1 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact, for at least one lavatory. | 1 | 92
124 | Clarksburg Elementary School | A. Drinking Fountains | H. No drinking fountain provided for standing users J. No drinking fountain provided for seated users | Near Boys' and Girls' Toilet Rooms - Primary Wing | 1 |  | Priority 1 | Program Access | Provide a Hi-Lo drinking fountain. | 1 | 4216
125 | Clarksburg Elementary School | A. Drinking Fountains | H. No drinking fountain provided for standing users | Towards Middle Wing From Main Entrance | 1 |  | Priority 1 | Program Access | Provide an additional drinking fountain for standing users. | 1 | 4028
126 | Clarksburg Elementary School | A. Drinking Fountains | H. No drinking fountain provided for standing users | Near - Toilet Rooms Gym | B |  | Priority 1 | Program Access | Provide an additional drinking fountain for standing users or install a Hi-Lo drinking fountain. | 1 | 4028
127 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided | Grade 2 | 1 |  | Priority 1 | Program Access | Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
128 | Clarksburg Elementary School | B. Sink |  | Nurse's Office | 1 | 11 | Priority 3 | Additional Access | If students are allow to use this sink, make sure that there is a clear floor space position for a forward approach. | 1 | 0
129 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided E. Exposed plumbing underneath sink | Grade 3 | 1 | 12 | Priority 1 | Safety | Relocate storage to ensure the required 27" knee clearance positioned for a forward approach at the sink. Insulate or otherwise configure pipes at sink. | 1 | 92
130 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided | Grade 4 | 1 | 14 | Priority 1 | Program Access | Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
131 | Clarksburg Elementary School | B. Sink | A. Clear floor space not provided at sink B. Toe and knee clearances not provided | Grade 3 | 1 | 15 | Priority 1 | Program Access | Provide a 30" by 48" clear floor space positioned for a forward approach. Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
132 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided | Grade 5 | 1 | 13 | Priority 1 | Program Access | Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
133 | Clarksburg Elementary School | B. Sink | A. Clear floor space not provided at sink B. Toe and knee clearances not provided | Grade 6/ Science | 1.5 | 18 | Priority 1 | Program Access | Provide a 30" by 48" clear floor space positioned for a forward approach. Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
134 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided | Grade 8/ History | 1.5 | 19 | Priority 1 | Program Access | Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
135 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided | Grade 6/ Math | 1.5 | 16 | Priority 1 | Program Access | Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
136 | Clarksburg Elementary School | B. Sink | B. Toe and knee clearances not provided | Grade 7/ ELA | 1.5 | 17 | Priority 1 | Program Access | Ensure there is a 27" knee clearance positioned for a forward approach. | 1 | 1686
137 | Clarksburg Elementary School | B. Play Areas | C. Accessible route not provided to play components M. Surface not stable, firm, and slip-resistant | Play Set 1 | Ext. |  | Priority 1 | Program Access | Provide a compliant impact-attenuating surface to and around the play components. Ensure that surface is firm, stable and slip-resistant (to areas around play components). (Cost for poured-in-place rubber surface.) | 1 | 21000
138 | Clarksburg Elementary School | B. Play Areas | A. Accessible route not provided to playground | Play Set 1 | Ext. |  | Priority 1 | Program Access | Ensure an accessible route is provided to table. (See ID #139 for cost.) | 1 | 0
139 | Clarksburg Elementary School | B. Play Areas | A. Accessible route not provided to playground B. Accessible route not provided around playground | Play Set 1 | Ext. |  | Priority 1 | Program Access | Install an accessible route to and around the playground. (Cost estimate for 242 ft. long by 4 ft. wide stone dust.) | 1 | 7744
140 | Clarksburg Elementary School | B. Play Areas | C. Accessible route not provided to play components M. Surface not stable, firm, and slip-resistant | Play Set 1 | Exterior |  | Priority 1 | Program Access | Provide a compliant impact-attenuating surface to and around the play components. Ensure that surface is firm, stable and slip-resistant (to areas around play components). (See ID #137 for cost.) | 1 | 0
141 | Clarksburg Elementary School | B. Play Areas | K. No compliant transfer system | Play Set 1 | Exterior |  | Priority 1 | Program Access | Alteration might be technically infeasible. | 1 | 0
142 | Clarksburg Elementary School | B. Play Areas | A. Accessible route not provided to playground B. Accessible route not provided around playground C. Accessible route not provided to play components | To Swings | Ext. |  | Priority 1 | Program Access | Install an accessible route to and around the playground. Provide a compliant impact-attenuating surface to and around the play components. | 1 | 7894
143 | Clarksburg Elementary School | B. Play Areas | A. Accessible route not provided to playground B. Accessible route not provided around playground | Play Set 2 | Exterior |  | Priority 1 | Program Access | Install an accessible route to and around the playground. Provide an accessible route around the play area. (Cost estimate for 199 ft. long by 4 ft. wide stone dust.) | 1 | 6368
144 | Clarksburg Elementary School | B. Play Areas | C. Accessible route not provided to play components M. Surface not stable, firm, and slip-resistant |  | Exterior |  | Priority 1 | Program Access | Provide a compliant impact-attenuating surface to and around the play components. Ensure surface is firm, stable and slip-resistant (to areas around play components). (Cost for poured-in-place rubber surface) | 1 | 16800
145 | Clarksburg Elementary School |  |  | Upper Level Open Space | Exterior |  | Priority 4 | Enhanced Usability | Recommend providing a planter with knee clearance positioned for a forward approach (deck). | 1 | 0
146 | Clarksburg Elementary School | B. Examination Table |  | Nurse's Office | 1 | 11 | Priority 4 | Enhanced Usability | Recommend providing an adjustable examination table. | 1 | 0
147 | Clarksburg Elementary School | C. Off-Street Parking Lot |  | Playground Outside Gym Entrance/ Exit | B |  | Priority 4 | Enhanced Usability | Recommend providing an accessible van parking space in this area. | 1 | 0

## Community Center
Town of Clarksburg: Priority for ADA Transition Plan - Buildings
**IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Clarksburg
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Community Center | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) | Path to Parking From Exit Near Kitchen | Exterior |  | Priority 3 | Additional Access | Reduce cross slope to be no steeper than 1:50 (2.00%). | 1 | 0
2 | Community Center | A. Exterior Access Route | H. Running slope > 1:20 (5%) | To Main Entrance/ Exit | Exterior |  | Priority 3 | Additional Access | Reduce running slope to be no steeper than 1:20 (5%). | 1 | 0
3 | Community Center | A. Exterior Access Route | J. Level changes > 1/4" | To Main Entrance/ Exit | Ext. |  | Priority 3 | Additional Access | Alter change in level to be 1/4" high max. | 1 | 256
4 | Community Center | A. Exterior Access Route | J. Level changes > 1/4" | Exit Near Kitchen | Exterior |  | Priority 3 | Additional Access | Alter change in level to be 1/4" high max. | 1 | 256
5 | Community Center | C. Off-Street Parking Lot or Garage | C. Total # of designated van accessible spaces | Accessible Parking Sign Near Main Entrance/ Exit | Ext. |  | Priority 1 | Program Access | Provide a van accessible spaces with a marked access aisle that is at least 96" wide and add the designation "Van Accessible" to the sign. Ensure sign is mounted between 60" -96" above the ground. Note: Provide one van accessible space for every six accessible parking spaces. | 1 | 1850
6 | Community Center | C. Off-Street Parking Lot or Garage | L. Does not prevent accumulation of water | Parking | Exterior |  | Priority 1 | Program Access | Repair surface. | 1 | 0
7 | Community Center | G. Entrance | N. Threshold not beveled O. Threshold > 1/2" high | Main Entrance/ Exit | 1 |  | Priority 3 | Additional Access | Bevel the threshold. Alter threshold to be 1/2" high max. | 1 | 150
8 | Community Center | G. Entrance | R. Door requires > 15 lbs. of force to open | Main Entrance | Exterior |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 15 pounds of force. | 1 | 0
9 | Community Center | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Main Entrance/ Exit | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility. | 1 | 464
10 | Community Center | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Exit - Side Lounge | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility. | 1 | 464
11 | Community Center | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Exit Near Kitchen | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility. | 1 | 464
12 | Community Center | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Exit Near Kitchen | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility. | 1 | 464
13 | Community Center | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Men's Toilet Room | 1 |  | Priority 3 | Additional Access | Provide an automatic door opener. | 1 | 3060
14 | Community Center | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | To Main Entrance/ Exit From Hall | 1 |  | Priority 3 | Additional Access | Relocate desk to maintain the maneuvering clearance at the door. | 1 | 0
15 | Community Center | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Main Hall | 1 |  | Priority 3 | Additional Access | Relocate chair to maintain the maneuvering clearance at the door. | 1 | 0
16 | Community Center | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Women's Toilet Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
17 | Community Center | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Men's Toilet Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount sign so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
18 | Community Center | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Women's Toilet Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount sign so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
19 | Community Center | H. Signage | M. Text size non-compliant on sign | Parking | Exterior |  | Priority 2 | Navigational Issue | Ensure that character size on the sign complies with the Character Height Table 703.5.5 in the ADA 2010 Standards. | 1 | 500
20 | Community Center | K. Operable Parts | C. Reach < 15" or > 48"(forward/side approach) | To Hall | 1 |  | Priority 3 | Additional Access | Relocate clothes rod 48" max. above the finished floor. | 1 | 256
21 | Community Center | B. Lavatory | B. Toe or knee clearances not provided E. Plumbing underneath is exposed | Men's Toilet Room | 1 |  | Priority 1 | Safety | Provide a lavatory with knee and toe clearance positioned for a forward approach. Insulate or otherwise configure pipes to prevent contact for at lavatory. | 1 | 1686
21 | Community Center | B. Lavatory | F. Mirror above lavatory w/reflective surface > 40" | Men's Toilet Room | 1 |  | Priority 3 | Additional Access | Lower mirror so that the bottom surface is at 40" max. above the finished floor. | 1 | 256
22 | Community Center | B. Lavatory | B. Toe or knee clearances not provided E. Plumbing underneath is exposed | Women's Toilet Room | 1 |  | Priority 1 | Safety | Provide a lavatory with knee and toe clearance positioned for a forward approach. Insulate or otherwise configure pipes to prevent contact for at lavatory. | 1 | 1686
22 | Community Center | B. Lavatory | F. Mirror above lavatory w/reflective surface > 40" | Women's Toilet Room | 1 |  | Priority 3 | Additional Access | Lower mirror so that the bottom surface is at 40" max. above the finished floor. | 1 | 256
23 | Community Center | D. Toilet Compartment | D. Door has malfunctioning self-closing hinge V. Door pull not provided | Men's Toilet Room | 1 |  | Priority 3 | Additional Access | Repair hinge. Provide a door pull on both sides of the door near the latch. | 1 | 70
24 | Community Center | D. Toilet Compartment | K. Rear grab bar < 42" long (MAAB) | Women's Toilet Room | 1 |  | Priority 3 | Additional Access | Provide a rear wall grab bar that is 42" long min. and extends from the toilet 12" min. on one side and 24" min. on the other side (open side). | 1 | 898
25 | Community Center | D. Toilet Compartment | K. Rear grab bar < 42" long (MAAB) M. Flush control not on open side | Men's Toilet Room | 1 |  | Priority 3 | Additional Access | Provide a rear wall grab bar that is 42" long min. and extends from the toilet 12" min. on one side and 24" min. on the other side (open side). Provide the flush control on the open side of the toilet (transfer side). | 1 | 1272
26 | Community Center | D. Toilet Compartment | Q. Clearance at toilet < 72" clear depth (MAAB) | Women's Toilet Room | 1 |  | Priority 3 | Additional Access | Remove table to maintain the maintain the required maneuvering clearance at the toilet. | 1 | 0
27 | Community Center | D. Toilet Compartment | V. Door pull not provided | Women's Toilet Room | 1 |  | Priority 1 | Program Access | Provide a door pull on both sides of the door near the latch. | 1 | 70
28 | Community Center | A. Bulletin Board |  | Near Toilet Rooms | 1 |  | Priority 4 | Enhanced Usability | Recommend relocating the bench and lower the bulletin board so information is mounted within reach range. | 1 | 0
29 | Community Center | A. Parking |  | Exit Near Kitchen | 1 |  | Priority 4 | Enhanced Usability | Recommend providing a marking so parked cars do not block the accessible route. | 1 | 0
30 | Community Center | A. Parking |  | Path Along Parking | 1 |  | Priority 4 | Enhanced Usability | Recommend providing wheel stops to keep vehicles from reducing the clear width of the accessible route. | 1 | 0
31 | Community Center | A. Patio |  | Exit - Side Lounge | Ext. |  | Priority 4 | Enhanced Usability | Recommend providing railing. | 1 | 0
32 | Community Center | A. Stove |  | Kitchen | 1 |  | Priority 4 | Enhanced Usability | Recommend having a stove with controls located on the front. | 1 | 0

## Police Department
Town of Clarksburg: Priority for ADA Transition Plan - Buildings
**IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Clarksburg
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Police Department |  |  | Entrance | 1 |  | Priority 1 | Program Access | See Town Hall entrance for issues. | 1 | 0
2 | Police Department | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open |  | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
3 | Police Department | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | To Interrogation Room | 1 |  | Priority 3 | Additional Access | Remove storage to maintain the maneuvering clearance at the door. | 1 | 0
4 | Police Department | H. Signage | A. Signage is not provided | To Interrogation Room | 1 |  | Priority 1 | Program Access | Locate compliant signage alongside the door on the latch side. | 1 | 232
5 | Police Department | H. Signage | A. Signage is not provided | Chief’s Office | 1 |  | Priority 1 | Program Access | Locate compliant signage alongside the door on the latch side. | 1 | 232
6 | Police Department | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground | Police Officers Work Area | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount signs so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. | 1 | 232
7 | Police Department | A. Means of Egress | B. Tactile exit sign not provided C. Directional sign to accessible emergency exit not provided | Police Officers Work Area | 1 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign indicating the location of the nearest accessible emergency exit. | 1 | 464
8 | Police Department | G. Entrance | M. Not maintained in operable working condition | Employee Only Entrance | 1 |  | Priority 1 | Program Access | Ensure the employee entrance/exit is maintained in operable working condition. | 1 | 0

## Town Hall
Town of Clarksburg: Priority for ADA Transition Plan - Buildings
**IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Clarksburg
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Town Hall | A. Exterior Access Route | H. Running slope > 1:20 (5%) | River Road -Front Entrance | Exterior |  | Priority 1 | Program Access | Reduce running slope to be no steeper than 1:20 (5%). | 1 | 0
2 | Town Hall | C. Off-Street Parking Lot or Garage | B. Total # of designated accessible parking spaces | Parking Lot | Exterior |  | Priority 1 | Program Access | Provide a van accessible space that is at least 132" wide with a marked access aisle that is at least 60" wide. Provide a sign with the bottom of the sign 60" min. above the ground and the top 96" max. above the ground. Add the designation "Van Accessible" to the sign. | 1 | 1850
3 | Town Hall | G. Entrance |  | To Rear Entrance - South Side | Exterior |  | Priority 1 | Program Access | Locate directional sign at the inaccessible entrance. (See ID #4.) | 1 | 0
4 | Town Hall | G. Entrance | B. Entrance not on an accessible route C. Directional sign to accessible entrance not provided | River Road -Front Entrance | Exterior |  | Priority 1 | Program Access | Provide a directional sign indicating the location of the nearest accessible entrance. | 1 | 346
5 | Town Hall | G. Entrance | G. Maneuvering clearance is not provided | Rear Entrance/ Exit | Exterior |  | Priority 3 | Additional Access | Remove drop box to maintain the maneuvering clearance at the door. (See ID #14 for additional recommendations.) | 1 | 0
6 | Town Hall | G. Entrance | K. Maneuvering clearance at door > 1:50 (2.00%) | Rear Entrance/ Exit | Exterior |  | Priority 3 | Additional Access | Alter so that the slope in all directions is no greater than 1:50 (2.00%). (See ID #14 for additional recommendations.) | 1 | 200
7 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided | Front Entrance/ Exit | 1.5 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign to the accessible exit. | 2 | 464
8 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided | Exit Near the Historical Society | 1.5 |  | Priority 1 | Safety | Ensure tactile exit signs with raised characters and braille are provided at exit doors. Mount signs between 48”- 60” above the finished floor located on the latch side of the door. Provide a directional sign to the accessible exit. | 1 | 464
9 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided | Exit - Historical Society | 1.5 |  | Priority 1 | Safety | Ensure a tactile exit signs with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. | 1 | 232
10 | Town Hall | A. Means of Egress | B. Tactile exit sign not provided | Rear Entrance/ Exit | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. After the change in level is fixed, provide an illuminated sign with the International Symbol of Accessibility (ISA). (See ID #6 and #13.) | 1 | 232
11 | Town Hall | B. Interior Access Route | B. Obstructed by protruding objects | Towards Town Clerk | 2 |  | Priority 3 | Additional Access | Provide a cane-detectable barrier under the drinking fountain so it does not protrude into the circulation path. | 1 | 878
12 | Town Hall | B. Interior Access Route | H. Accessible route not provided | From 1st Floor to 2nd Floor. | 1 |  | Priority 1 | Program Access | Provide a LULA elevator that connects all levels in the Town Hall. | 1 | 90000
13 | Town Hall | C. Doors, Doorways, & Gates | A. Clear width at door < 32" | Historical Society | 1.5 |  | Priority 3 | Additional Access | Widen the door so that there is 32" min. clear width. | 1 | 3366
14 | Town Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Rear Entrance/ Exit | 1 |  | Priority 3 | Additional Access | Provide an automatic door opener. Locate automatic door opener outside the swing of the door. | 1 | 3060
15 | Town Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | To Main Entrance From Lobby | 1 |  | Priority 3 | Additional Access | Remove chair to maintain the required maneuvering clearance at the door. | 1 | 0
16 | Town Hall | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Historical Society | 1.5 |  | Priority 3 | Additional Access | Relocate the display to maintain the maneuvering clearance at both doors. | 1 | 0
17 | Town Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
18 | Town Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | To Town Offices | 1 |  | Priority 3 | Additional Access | Adjust closers so doors do not require more than 5 pounds of force to open. | 1 | 0
19 | Town Hall | C. Doors, Doorways, & Gates | M. Door requires > 5 lbs. of force to open | To Town Clerk Office | 2 |  | Priority 3 | Additional Access | Adjust closer so door does not require more than 5 pounds of force to open. | 1 | 0
20 | Town Hall | E. Stairways | D. Handrails do not extend 12" from stairs | Near Town Offices | 1.5 |  | Priority 3 | Additional Access | Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. | 1 | 0
21 | Town Hall | E. Stairways | D. Handrails do not extend 12" from stairs | Near Town Offices | 2 |  | Priority 3 | Additional Access | Top: Ensure handrails extend horizontally above the landing for 12” min. beginning above the first riser nosing. Bottom: Ensure handrails extend to one tread depth beyond the last riser. | 1 | 0
22 | Town Hall | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground D. Braille not provided on sign | Administrative Assistant Office | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount sign so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. | 1 | 232
23 | Town Hall | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground D. Braille not provided on sign G. Sign not located on the latch side of the door | Town Administrator Office | 1.5 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount sign so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
24 | Town Hall | H. Signage | B. Raised characters not provided on sign C. Raised characters < 48" or > 60" above ground D. Braille not provided on sign | Town Clerk Office | 2 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Mount sign so that the baseline of the lowest tactile character is 48” min. above finished floor and the baseline of the highest tactile character is 60” max. above the finished floor. | 1 | 232
25 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Treasurer/ Collector Office | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
26 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Single-User Toilet Room | 1 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
27 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Men's Toilet Room (Staff Only) | 1.5 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
28 | Town Hall | H. Signage | B. Raised characters not provided on sign D. Braille not provided on sign G. Sign not located on the latch side of the door | Women's Toilet Room (Staff Only) | 1.5 |  | Priority 2 | Navigational Issue | Provide text with raised characters duplicated in braille on sign. Locate sign at permanent rooms alongside the door on the latch side. | 1 | 232
29 | Town Hall | J. Service Counter | B. Counter > 36" high | Treasurer/ Collector Office | 1 |  | Priority 3 | Additional Access | Provide a counter that is 36" max. above the finished floor. | 1 | 880
30 | Town Hall | K. Operable Parts | C. Reach < 15" or > 48"(forward/side approach) | Near the Administrative Assistant Office | 1 |  | Priority 3 | Additional Access | Locate file wall holder 48" above the finished floor. | 1 | 0
31 | Town Hall | K. Operable Parts | C. Reach < 15" or > 48"(forward/side approach) | Near the Administrative Assistant Office | 1 |  | Priority 3 | Additional Access | Locate mail boxes 48" above the finished floor. | 1 | 0
32 | Town Hall | B. Lavatory | E. Plumbing underneath is exposed | Single-User Toilet Room | 1 |  | Priority 1 | Safety | Insulate or otherwise configure pipes to prevent contact for at least one lavatory. | 1 | 92
32 | Town Hall | B. Lavatory | F. Mirror above lavatory w/reflective surface > 40" | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Lower mirror so that the bottom surface is at 40" max. above the finished floor. | 1 | 256
33 | Town Hall | C. Single-User Toilet | B. Flush control not on open side D. Centerline < or > 18" (MAAB) M. Toilet paper dispenser is not compliant | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate the flush control to the open side. Relocate toilet so that the centerline is 18" from the side wall. Relocate toilet paper so that it is 24" min. high, located under the grab bar, and between 7" and 9" from the front of the toilet. | 1 | 3458
34 | Town Hall | C. Single-User Toilet | K. Clearance at toilet < 60" clear width | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Ensure there is 60" wide min. clear floor space the toilet and the lavatory. | 1 | 0
35 | Town Hall | C. Single-User Toilet | Q. Distance between toilet and nearest fixture < 42" | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Remove urinal to provide the required 42" min. distance between the toilet and the nearest fixture. | 1 | 0
36 | Town Hall | A. Drinking Fountains | H. No drinking fountain provided for standing users L. Knee or toe clearance not provided | Towards Town Clerk Office | 2 |  | Priority 1 | Program Access | Provide an additional drinking fountain for standing users or install a Hi-Lo drinking fountain. Provide knee and toe clearance, 27" min. high at drinking fountain for seated users. | 1 | 4216
37 | Town Hall | B. Play Areas | A. Accessible route not provided C. Accessible route not provided to play components M. Surface not stable, firm, and slip-resistant | Near Parking Lot | Exterior |  | Priority 1 | Program Access | Install an accessible route to and around the playground. Provide a compliant impact-attenuating surface to and around the play components and ensure that surface is firm, stable and slip-resistant (to areas around play components). (Cost for a new stone dust path to the swing set and impact-attenuating surface around the to the play components) | 1 | 8310
38 | Town Hall | C. Signage |  | From 2nd Floor to 1st Floor | 1 |  | Priority 4 | Enhanced Usability | Recommend providing directional signs at this location. | 1 | 0
39 | Town Hall | C. Stairs |  | From 1st to 2nd Floor | 1 |  | Priority 4 | Enhanced Usability | Recommend adding contrasting strips at the edge of each step at the stairs leading to the main entrance and the interior stairs. | 1 | 0

## Town Library
Town of Clarksburg: Priority for ADA Transition Plan - Buildings
**IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Clarksburg
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Clarksburg Town Library | A. Exterior Access Route | B. Exterior route < 36" wide | Near Main Entrance - | Exterior |  | Priority 3 | Additional Access | Ensure that a clear width of 36" min. is maintained at the accessible route. | 1 | 384
2 | Clarksburg Town Library | A. Exterior Access Route | N. Accessible route not provided | Main Entrance | Exterior |  | Priority 1 | Program Access | Locate drop off box near the accessible route. | 1 | 0
3 | Clarksburg Town Library | C. Off-Street Parking Lot or Garage | G. Access aisle not provided N. Sign not provided | Parking Lot | Exterior |  | Priority 1 | Program Access | Provide a marked access aisle that is at least 96" wide. Provide a sign with the bottom of the sign 60" min. above the ground and the top 96" max. above the ground. Add the designation "Van Accessible" to the sign located at the van accessible space. | 1 | 800
4 | Clarksburg Town Library | G. Entrance | R. Door requires > 15 lbs. of force to open | Main Entrance | Exterior |  | Priority 3 | Additional Access | Adjust closers so door does not require more than 15 pounds of force. | 1 | 0
5 | Clarksburg Town Library | H. Emergency Exit | V. Clear floor space not provide outside the swing of the door | Exit - Near Computer Area | 1 |  | Priority 3 | Additional Access | Provide a 30" x 48" clear floor space outside the swing of the door. (Cost for a 3 ft. by 4 ft. concrete patch.) | 1 | 192
6 | Clarksburg Town Library | A. Means of Egress | B. Tactile exit sign not provided M. Sign at area of refuge not provided | Exit - Near Computer Area | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide a sign with the term “AREA OF REFUGE” and the International Symbol of Accessibility (ISA) at the door. | 1 | 464
7 | Clarksburg Town Library | A. Means of Egress | B. Tactile exit sign not provided O. Illuminated ISA symbol not provided (MAAB) | Main Entrance | 1 |  | Priority 1 | Safety | Ensure a tactile exit sign with raised characters and braille is provided at exit door. Mount sign between 48”- 60” above the finished floor located on the latch side of the door. Provide an illuminated sign with the International Symbol of Accessibility. | 1 | 464
8 | Clarksburg Town Library | B. Interior Access Route | F. Surface not stable, firm, and slip-resistant | Hallway | 1 |  | Priority 3 | Additional Access | Ensure mat is securely attached to the floor. | 1 | 0
9 | Clarksburg Town Library | B. Interior Access Route | F. Surface not stable, firm, and slip-resistant | Children Section | 1 |  | Priority 3 | Additional Access | Ensure mat is securely attached to the floor. | 1 | 0
10 | Clarksburg Town Library | B. Interior Access Route | F. Surface not stable, firm, and slip-resistant | Corridor | 1 |  | Priority 3 | Additional Access | Ensure mat is securely attached to the floor. | 1 | 0
11 | Clarksburg Town Library | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided | Main Entrance/ Exit | 1 |  | Priority 3 | Additional Access | Relocate table to maintain the required maneuvering clearance at the door. | 1 | 0
12 | Clarksburg Town Library | C. Doors, Doorways, & Gates | C. Maneuvering clearance(s) not provided M. Door requires > 5 lbs. of force to open | Hallway | 1 |  | Priority 3 | Additional Access | Remove items to maintain the required maneuvering clearance at the door. Adjust closer so door does not require more than 5 pounds of force to open. | 1 | 0
13 | Clarksburg Town Library | J. Service Counter | F. Counter not maintained in operable working condition | Near Main Entrance | 1 |  | Priority 3 | Additional Access | Remove objects to ensure the accessible portion of the counter is maintained in operable working condition. | 1 | 0
14 | Clarksburg Town Library | M. Dining or Work Surfaces | C. Knee or toe clearance not provided G. Top of dining/work surface < 26" or > 30" | Children Section | 1 |  | Priority 1 | Program Access | Adjust at least one work surface to ensure there is a 24" min. knee and toe clearance. Ensure that the top of at least one of the work surfaces is mounted between 26" - 30" above the finished floor. | 1 | 0
15 | Clarksburg Town Library | U. Kitchens and Kitchenettes | A. Knee/toe clearance not provided at sink | Kitchenette | 1 |  | Priority 1 | Program Access | If the sink is used by members of the public, provide a sink with knee and toe clearance positioned for a forward approach. | 1 | 0
16 | Clarksburg Town Library | B. Lavatory | B. Toe or knee clearances not provided | Single-User Toilet Room | 1 |  | Priority 1 | Program Access | Provide a lavatory with knee and toe clearance positioned for a forward approach. | 1 | 1686
17 | Clarksburg Town Library | A. Drinking Fountains | H. No drinking fountain provided for standing users | Corridor | 1 |  | Priority 1 | Program Access | Provide an additional drinking fountain for standing users. | 1 | 4028
18 | Clarksburg Town Library | A. Signage |  | Single-User Toilet Room | 1 |  | Priority 4 | Enhanced Usability | Recommend providing a sign with raised characters and braille mounted on the latch side of the door at the single-user toilet room. | 1 | 0

## Volunteer Fire Company
Town of Clarksburg: Priority for ADA Transition Plan - Buildings
**IHCD Cost Estimation Notes: - Cost of design is not included. - Does not include costs when note indicates future work. - Labor cannot be estimated for all remedies. - There is no cost noted when it's presumed to be a maintenance issue. - Cost based on a national average. Cost is not based on prevailing wage. - There is no cost noted when it's presumed to be a maintenance issue. Estimates are intended as a guide to budgeting access modifications and are not intended to be absolutely comprehensive or definitive.
| Priorities: Priority 1: Program Access* or Safety Priority 2: Navigational Issue Priority 3: Additional Access* Priority 4: Enhanced Usability | [5 empty] | *Note: Some toilet rooms issues compromise Program Access. Some toilet rooms with less central issues (e.g., partially accessible toilet rooms), fall under Additional Access.
| Information Provided by Institute for Human Centered Design | [10 empty] | Project Management for the Town of Clarksburg
ID | Facility Name | Element | Issue/Physical Barrier | Location | Fl. | Rm. | Town Priority | Priority for Barrier Removal | Remedies | Quantity | Estimated Cost of Barrier Removal | Project Start Date | Project Completion Date | Responsible for Barrier Removal
1 | Clarksburg Volunteer Fire Company | A. Exterior Access Route | E. Obstructed by protruding objects | Back Entrance/ Exit | Exterior |  | Priority 3 | Additional Access | Relocate mail box so it does not protrude into the circulation path. | 1 | 0
2 | Clarksburg Volunteer Fire Company | A. Exterior Access Route | G. Cross slope > 1:50 (2.00%) H. Running slope > 1:20 (5%) | Cross Road - Northeast Side | Exterior |  | Priority 3 | Additional Access | Reduce cross slope to be no steeper than 1:50 (2.00%). Reduce running slope to be no steeper than 1:20 (5%). | 1 | 0
3 | Clarksburg Volunteer Fire Company | A. Exterior Access Route | M. Not maintained in operable working condition | Route From Side Garage to Middle Garage | 1 |  | Priority 1 | Program Access | Repair threshold at door to ensure is maintain in operable working condition. | 1 | 0
4 | Clarksburg Volunteer Fire Company | C. Off-Street Parking Lot or Garage | C. Total # of designated van accessible spaces | Parking Lot (Back Side of Building) | Exterior |  | Priority 1 | Program Access | Provide a van accessible space that is at least 132" wide with a marked access aisle that is at least 60" wide. Provide a sign with the bottom of the sign 60" min. above the ground and the top 96" max. above the ground. Add the designation "Van Accessible" to the sign. | 1 | 1100
5 | Clarksburg Volunteer Fire Company | G. Entrance | B. Entrance not on an accessible route | Back Entrance/ Exit | Exterior |  | Priority 1 | Program Access | Consider providing a temporary ramp as needed. | 1 | 500
6 | Clarksburg Volunteer Fire Company | G. Entrance | N. Threshold not beveled O. Threshold > 1/2" high | Back Entrance/ Exit | 1 |  | Priority 3 | Additional Access | Bevel the threshold. Alter threshold to be 1/2" high max. | 1 | 300
7 | Clarksburg Volunteer Fire Company | G. Entrance | Q. Hardware not operable with a closed fist | Back Entrance/ Exit | 1 |  | Priority 3 | Additional Access | Provide hardware that can be operable with one hand and not require tight grasping, pinching, or twisting of the wrist. | 1 | 484
8 | Clarksburg Volunteer Fire Company | B. Interior Access Route |  | Side Garage Roadside Garage Doors | 1 |  | Priority 3 | Additional Access | Ensure there is a 36" clear width when members of the public are allowed to visit the station. | 1 | 0
9 | Clarksburg Volunteer Fire Company | B. Interior Access Route | B. Obstructed by protruding objects | Side Garage Door, Cross Road - Northeast Side | 1 |  | Priority 3 | Additional Access | Relocate fire extinguisher so it does not protrude into the circulation path. | 1 | 0
10 | Clarksburg Volunteer Fire Company | B. Interior Access Route | B. Obstructed by protruding objects | Near Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Relocate shelving so it does not protrude into the circulation path. | 1 | 256
11 | Clarksburg Volunteer Fire Company | B. Interior Access Route | H. Accessible route not provided | Towards Single-User Toilet Room | 1 |  | Priority 1 | Program Access | See ID #12. | 1 | 0
12 | Clarksburg Volunteer Fire Company | B. Interior Access Route | H. Accessible route not provided | Towards Single-User Toilet Room | 1 |  | Priority 1 | Program Access | Provide an accessible route. Consider providing a wooden ramp along the wall to the right of the entrance. Ensure the ramp is at least 20 ft. long with a landing that is at least 5 ft. and a slope no steeper than 1:12 (8.33%). | 1 | 10000
13 | Clarksburg Volunteer Fire Company | H. Signage | A. Signage is not provided | Single-User Toilet Room | 1 |  | Priority 1 | Program Access | Locate compliant signage alongside the door on the latch side. | 1 | 232
14 | Clarksburg Volunteer Fire Company | A. Overall Access | H. Audible and visible alarms not provided | Single-User Toilet Room | 1 |  | Priority 1 | Program Access | When fire system is updated, ensure that a visible and audible fire alarm is installed. | 1 | 0
15 | Clarksburg Volunteer Fire Company | C. Single-User Toilet | K. Clearance at toilet < 60" clear width M. Distance between toilet and nearest fixture < 42" | Single-User Toilet Room | 1 |  | Priority 3 | Additional Access | Remove cabinet to maintain the required 60" wide min. clear floor space at the toilet. Remove urinal to provide the required 42" min. distance between the toilet and the nearest fixture. (Cost is to remove the urinal.) | 1 | 580
16 | Clarksburg Volunteer Fire Company | E. Urinal | A. Rim > 17" high | Single-User Toilet Room | 1 |  | Priority 1 | Program Access | See ID #15. | 1 | 0